## Calculator
Bundle Calculator
Yellow fields can be modified
A | Cable diameter d (mm) | Fill ratio of duct system | Duct heigth h (mm) | Duct width w (mm) | Number of cables n
| 6 | 50% | 100 | 100 | 144
| Calculation A |  |  | Calculation B
B | Cable diameter d (mm) |  | Bundle heigth h (mm) | Bundle width w (mm) | Number of cables n
| 6 |  | 47.5692 | 100 | 144
w
h
% h
d
n?
w
h?
d
n

## Presets
Trunk coefficient | Cable coefficient | Attenuation coefficient | Electrical length | Cable multiplicator | Application | Class | Cable | Connectors | Patchcord
0.2 | 5 | 0.4 | 109 | 1 | PoE | D | Special /u (AWG26) | 2 | 1.2
0.4 | 3 | 0.2 | 104 | 1.05 | PoEP | E | Cat5e/u (AWG24) | 3 | 1.5
1 | 2.5 |  |  | 1.1 | UPoE (Cisco) | EA | Cat6/u (AWG23) | 4
|  |  |  | 1.15 | PoH (HDBaseT) | F | Cat6A/u (AWG23) WARP
[5 empty] | 4PPoE (55W) | FA | Cat6A/u (AWG23)
4PPoE (100W)
Cat6A/u Bundle (AWG23) WARP
| Current per wire | No of wires | Power
PoE | 0.175 | 4 | 15 |  |  |  | Special /s (AWG26)
PoEP | 0.3 | 4 | 26 |  |  |  | Cat5e/s (AWG24)
UPoE (Cisco) | 0.35 | 8 | 60 |  |  |  | Cat6A/s; Cat7/s (AWG23)
PoH (HDBaseT) | 0.44 | 8 | 100 |  |  |  | Cat7A/s (AWG22)
4PPoE (55W) | 0.325 | 8 | 55 | Draft
4PPoE (100W) | 0.5 | 8 | 100 | Draft |  |  | Cat6A/s Bundle (AWG26)
Cat6A/s Bundle (AWG23)
| Diameter | Resistance | D | E | EA | F | FA | Attenuation | Cable coefficient
Special /u (AWG26) | 5.5 | 13 | 0.666 | 0.666 | 0.666 | 0.666 | 0.666 | 0.4 | 5
Cat5e/u (AWG24) | 5 | 9.5 | 1 | NA | NA | NA | NA | 0.4 | 5
Cat6/u (AWG23) | 6 | 7.5 | 1.05 | 1 | NA | NA | NA | 0.4 | 5
Cat6A/u (AWG23) WARP | 7.2 | 9.5 | 1.1 | 1.05 | 1 | NA | NA | 0.4 | 3
Cat6A/u (AWG23) | 9 | 9.5 | 1.1 | 1.05 | 1 | NA | NA | 0.4 | 5
Cat6A/u Bundle (AWG23) WARP | 7.2 | 10.5 | 1 | 0.95 | 0.9 | NA | NA | 0.4 | 5
Special /s (AWG26) | 6 | 13 | 0.666 | 0.666 | 0.666 | 0.666 | 0.666 | 0.2 | 3
Cat5e/s (AWG24) | 5 | 9.5 | 1 | NA | NA | NA | NA | 0.2 | 3
Cat6A/s; Cat7/s (AWG23) | 7.5 | 7.5 | 1.1 | 1.05 | 1 | 1 | NA | 0.2 | 2.5
Cat7A/s (AWG22) | 8.5 | 6 | 1.15 | 1.1 | 1.05 | 1 | 1 | 0.2 | 2.5
Cat6A/s Bundle (AWG26) | 6 | 13.8 | 0.666 | 0.64 | 0.61 | 0.61 | NA | 0.2 | 2.5
Cat6A/s Bundle (AWG23) | 7.5 | 8 | 1 | 0.95 | 0.9 | 0.9 | NA | 0.2 | 2.5
"" | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
D | 109 | 107 | 105 | 4
E | 104 | 103 | 102 | 5
EA | 104 | 103 | 102 | 6
F | 105 | 103 | 102 | 7
FA | 105 | 103 | 102 | 8